## Instructions
Instructions
1 | On the Range Summary sheet, enter the names of the test agent and the control agent in their respective purple cells.
2 | On the Range Summary sheet, enter the names of the QC organisms in the yellow cells labelled "strain x" (up to 10 names are possible)
3 | On the Strain 1 sheet, click on the 'Go to Raw Data Entry area' link. Start entering data for the first QC strain.
You get the most out of it if you enter the data for each 'Media Lot / Disk Lot' in their respective sections. This will give the media lot comparison on the Compare Media Lot And Compare Disk Lots sheets.
Enter CLSI QC limits if currently known, otherwise ignore (useful for Control drug data)
4 | On the Strain 1 Control sheet do the same for the control agent values
5 | Repeat these two steps for as many QC strains as you have.
6 | Review the results for possible outlier labs on the 'Outlier Detection' sheet. Any possible outliers also show up on their respective sheets
If two or three of the three statistics for possible outlier labs show up, then go to the relevant sheet and delete the raw data for that lab.
You can always undo it but only when you're on that sheet; if you change sheets you will usually not be able to undo. It's an XL quirk
7 | Review the Media Lot comparison on the 'Compare Media Lots' sheet; Review the Disk lot comparison on the 'Compare Disk Lots' sheet
8 | Inspect the final recommended QC rnages on the 'Range Summary' tab. They are also to be found on the individual sheets.

## Range Summary
| Strain 1 | Strain 2 | Strain 3 | Strain 4 | Strain 5 | Strain 6 | Strain 7 | Strain 8 | Strain 9 | Strain 10
Enter test agent | strain 1 | strain 2 | strain 3 | strain 4 | strain 5 | strain 6 | strain 7 | strain 8 | strain 9 | strain 10
| Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range | Calculated QC Range
| Range | Range | Range | Range | Range | Range | Range | Range | Range | Range
| % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured | % Obs. Captured
| CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range | CLSI QC Range
| Range | Range | Range | Range | Range | Range | Range | Range | Range | Range
| CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured | CLSI% captured
Control | Enter control agent

## Outlier Detection
Strain No. | Strain 1 | Strain 2 | Strain 3 | Strain 4 | Strain 5 | Strain 6 | Strain 7 | Strain 8 | Strain 9 | Strain 10
QC Strain | strain 1 | strain 2 | strain 3 | strain 4 | strain 5 | strain 6 | strain 7 | strain 8 | strain 9 | strain 10
Mean MIC
SD
Interlab CV – Mean
Interlab CV – Median
Outlier Labs
Lab 1 Mean
Lab 1 Median
Lab 1 Mode
Lab 2 Mean
Lab 2 Median
Lab 2 Mode
Lab 3 Mean
Lab 3 Median
Lab 3 Mode
Lab 4 Mean
Lab 4 Median
Lab 4 Mode
Lab 5 Mean
Lab 5 Median
Lab 5 Mode
Lab 6 Mean
Lab 6 Median
Lab 6 Mode
Lab 7 Mean
Lab 7 Median
Lab 7 Mode
Lab 8 Mean
Lab 8 Median
Lab 8 Mode

## Media Lots
Strain No. | Strain 1 |  |  | Strain 2 |  |  | Strain 3 |  |  | Strain 4 |  |  | Strain 5 |  |  | Strain No. | Strain 6 |  |  | Strain 7 |  |  | Strain 8 |  |  | Strain 9 |  |  | Strain 10
ZD | strain 1 |  |  | strain 2 |  |  | strain 3 |  |  | strain 4 |  |  | strain 5 |  |  | ZD | strain 6 |  |  | strain 7 |  |  | strain 8 |  |  | strain 9 |  |  | strain 10
| LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 |  | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3 | LOT 1 | LOT 2 | LOT 3
6 | [15 empty] | 6
7 | [15 empty] | 7
8 | [15 empty] | 8
9 | [15 empty] | 9
10 | [15 empty] | 10
11 | [15 empty] | 11
12 | [15 empty] | 12
13 | [15 empty] | 13
14 | [15 empty] | 14
15 | [15 empty] | 15
16 | [15 empty] | 16
17 | [15 empty] | 17
18 | [15 empty] | 18
19 | [15 empty] | 19
20 | [15 empty] | 20
21 | [15 empty] | 21
22 | [15 empty] | 22
23 | [15 empty] | 23
24 | [15 empty] | 24
25 | [15 empty] | 25
26 | [15 empty] | 26
27 | [15 empty] | 27
28 | [15 empty] | 28
29 | [15 empty] | 29
30 | [15 empty] | 30
31 | [15 empty] | 31
32 | [15 empty] | 32
33 | [15 empty] | 33
34 | [15 empty] | 34
35 | [15 empty] | 35
36 | [15 empty] | 36
37 | [15 empty] | 37
38 | [15 empty] | 38
39 | [15 empty] | 39
40 | [15 empty] | 40
41 | [15 empty] | 41
42 | [15 empty] | 42
43 | [15 empty] | 43
44 | [15 empty] | 44
45 | [15 empty] | 45
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | SD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Disk Lots
Strain No. | Strain 1 |  | Strain 2 |  | Strain 3 |  | Strain 4 |  | Strain 5 |  | Strain 6 |  | Strain 7 |  | Strain 8 |  | Strain 9 |  | Strain 10
ZD | strain 1 |  | strain 2 |  | strain 3 |  | strain 4 |  | strain 5 |  | strain 6 |  | strain 7 |  | strain 8 |  | strain 9 |  | strain 10
| LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B | LOT A | LOT B
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mean | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
SD | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Strain 1
strain 1 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 1 control
strain 1 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 2
strain 2 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 2 control
strain 2 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 3
strain 3 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 3 control
strain 3 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 4
strain 4 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 4 control
strain 4 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 5
strain 5 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 5 control
strain 5 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 6
strain 6 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 6 control
strain 6 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 7
strain 7 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 7 control
strain 7 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 8
strain 8 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 8 control
strain 8 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 9
strain 9 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 9 control
strain 9 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 10
strain 10 | Enter test agent |  | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B

## Strain 10 control
strain 10 | Enter control agent | Control | Go to Raw Data Entry area
|  | ZD | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Norm
Calculated QC Range |  | 6 | [10 empty] | 0 | 0
|  | 7 | [10 empty] | 0 | 0
Range |  | 8 | [10 empty] | 0 | 0
|  | 9 | [10 empty] | 0 | 0
% Obs. Captured |  | 10 | [10 empty] | 0 | 0
|  | 11 | [10 empty] | 0 | 0
Prob'ty Outside Range |  | 12 | [10 empty] | 0 | 0
|  | 13 | [10 empty] | 0 | 0
|  | 14 | [10 empty] | 0 | 0
CLSI QC Range |  | 15 | [10 empty] | 0 | 0
|  | 16 | [10 empty] | 0 | 0
|  | 17 | [10 empty] | 0 | 0
|  | 18 | [10 empty] | 0 | 0
Range |  | 19 | [10 empty] | 0 | 0
|  | 20 | [10 empty] | 0 | 0
CLSI% captured |  | 21 | [10 empty] | 0 | 0
|  | 22 | [10 empty] | 0 | 0
|  | 23 | [10 empty] | 0 | 0
Gavan QC Range |  | 24 | [10 empty] | 0 | 0
|  | 25 | [10 empty] | 0 | 0
Range |  | 26 | [10 empty] | 0 | 0
|  | 27 | [10 empty] | 0 | 0
% Captured |  | 28 | [10 empty] | 0 | 0
|  | 29 | [10 empty] | 0 | 0
|  | 30 | [10 empty] | 0 | 0
|  | 31 | [10 empty] | 0 | 0
|  | 32 | [10 empty] | 0 | 0
|  | 33 | [10 empty] | 0 | 0
|  | 34 | [10 empty] | 0 | 0
|  | 35 | [10 empty] | 0 | 0
|  | 36 | [10 empty] | 0 | 0
|  | 37 | [10 empty] | 0 | 0
|  | 38 | [10 empty] | 0 | 0
|  | 39 | [10 empty] | 0 | 0
|  | 40 | [10 empty] | 0 | 0
|  | 41 | [10 empty] | 0 | 0
|  | 42 | [10 empty] | 0 | 0
|  | 43 | [10 empty] | 0 | 0
|  | 44 | [10 empty] | 0 | 0
|  | 45 | [10 empty] | 0 | 0
|  | Central Tendancy Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Control | Limits
Mean
Median
Mode
|  | Conventional Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | N | [10 empty] | 0 | CV
Mean Zone Diameter
SD Zone Diameter
95% Lower Bound
95% Upper Bound
Lower Bound Rounded Down
Upper Bound Rounded Up
Probability of <=Lower Bound
Probability of >Upper Bound
New Range
|  | Order Stats | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | All labs | Interlab
|  | 25th %ile | [11 empty] | CV
75th %ile
HSpread
Minimum
Maximum
Lower Inner Fence
Upper Inner Fence
Lower Outer Fence
Upper Outer Fence
Lower Near Outliers
Upper Near Outliers
Lower Extreme Outliers
Upper Extreme Outliers
|  | Chart Control Limits | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10
| Mean | Lower CL
Upper CL
| Median | Lower CL
Upper CL
| Mode | Lower CL
Upper CL
|  | Raw Data Entry | Lab 1 | Lab 2 | Lab 3 | Lab 4 | Lab 5 | Lab 6 | Lab 7 | Lab 8 | Lab 9 | Lab 10 | Control | Limits
| Media Lot 1 | Disk Lot A
| Media Lot 1 | Disk Lot B
| Media Lot 2 | Disk Lot A
| Media Lot 2 | Disk Lot B
| Media Lot 3 | Disk Lot A
| Media Lot 3 | Disk Lot B